VMZINC standing seam wall cladding on vented plywood April 26
H74 Zinc strip / sheet coverings / flashings

To be read with preliminaries / general conditions
TYPES OF ZINC WORK
130
Main Cladding

•
Cladding system:  VMZINC Single lock standing seam cladding (horizontal or vertical) for vertical walls and soffits.

•
Substrate:  Exterior grade 18mm plywood (EN314-3 & EN636-2).  The plywood deck must be even and flush with all joints being less than 2mm in height.  Nails should be driven into the plywood so as to avoid abrasive contact with the underside of the zinc cladding sheets.  Ensure that any treatment which the plywood may have received (fungicides or insecticides) is compatible with the zinc cladding sheets.  A continuous airspace of at least 38mm must be allowed for between the plywood and insulation (which can be protected by the VMZINC membrane). 

•
Underlay:  No underlay is required but a VMZINC membrane can be installed over the plywood. 

•
Vapour control layer as per requirements. 

•
Insulation as per requirements protected with VMZINC membrane.

•
Zinc:  As clause 520.



-  Finish:  VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or PIGMENTO Red, Green, Blue, Brown, Grey, Storm Grey, Charcoal Blue or AZENGAR. 

-  Thickness: 0.8mm.

•
Longitudinal joints:  25mm high single lock standing seam. 


-  Spacing:  not more than 430mm accordance with design and wind loadings. 

•
Cross joints:  Single welts, in accordance with manufacturer’s recommendations. 


-  Spacing, panels to be no longer than 4m. 

•
Vented apron detail:  As clause 340. 

•
Vented parapet detail:  As clause 470. 

•
Overall Cladding system to have a BRE Green Guide rating of at least A with no more than 0.64 BRE ecopoints (measured over 60 years for 1m2). 
340
Vented base detail

•
Eaves zinc:  As clause 520. 


-  Finish:  VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or PIGMENTO Red, Green, Blue, Brown, Grey, Storm Grey, Charcoal Blue  or AZENGAR. 


-  Thickness:  0.8mm. 

•
Joints:  Spacing:  2m.


•
Continuous drip 10mm linear vent opening
470
Vented Parapet 

•
Ridge:  As clause 520. 


-  Finish:  VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or PIGMENTO Red, Green, Blue, Brown, Grey, Storm Grey, Charcoal Blue or AZENGAR. 

-  Thickness:  0.8mm. 

•
Joints:  Spacing:  2m.


•
Overlap between tray and parapet at least 60mm with 10mm linear vent opening.

GENERAL REQUIREMENTS/PREPARATORY WORK
510
WORKMANSHIP GENERALLY

•
Standard:  Generally to CP 143-5.


•
Fabrication and fixing:  To provide a secure, free draining and completely weather tight installation.
· Operatives:  Trained in the application of zinc coverings/flashings by participation in a Pro-Zinc training course.  Submit records of experience on request.  VMZINC at Work installers offer evidence of successfully completed projects, records of VMZINC training and extended material warranties.


•
Measuring, marking, cutting and forming:  Prior to assembly wherever possible. 

•
Metal temperature:  Do not form zinc when the metal temperature is below 7˚C. (10˚C for PIGMENTO).

•
Marking out:  With pencil, chalk or crayon.  Do not use scribers or other sharp instruments without approval. 

•
Folding: With mechanical or manual presses to give straight, regular and tight bends, leaving panels free from ripples, kinks, buckling and cracks.  Use hand tools only for folding details that cannot be pressed. The minimum bending radius is thickness x 2 (x 3 for PIGMENTO).

•
Sharp metal edges:  Fold under or remove as work proceeds. 

•
Sealants:  Do not use in joints to attain waterproofing. 

•
Solder:  Use only where specified. 

•
Finished zinc work:  Fully supported, adequately fixed to resist wind uplift and able to accommodate thermal movement without distortion or stress. 

•
Protection:  Prevent staining, discolouration and damage by subsequent works.  All instructions and recommendations contained in the guidelines for design and specification and VMZINC General Technical Recommendation of VMZINC standing seam facades to be applied.  Plastic film must be removed within 2 months of installation and in such a way so as not to trap water between the partially removed film and the zinc. 
520
ZINC STRIP/SHEET

•
Zinc-titanium-copper alloy: 



-  To BS EN 501 and BS EN 988. 


•
Zinc manufactured following ISO 14001 (environmental management), ISO 9001 (quality management) and ISO 18001 safety management. 


-  Stamped or labelled with type, finish and thickness.  

•
Installed material must come from the same batch.



-  Zinc to be coated on underside with a protective 60 micron lacquer. 


•
Manufacturer:



-  VMZINC Suite 1 Ground Floor Prince of Wales House 3 Bluecoats Avenue Hertford  SG14 1PB



   Tel:  01992 921 300  Email: vmzinc.uk@vmbuildingsolutions.com   Web:  www.vmzinc.co.uk



-  Product reference:



   VMZINC in VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or PIGMENTO Red, Green, Blue, Brown, Grey, Storm Grey, Charcoal Blue  or AZENGAR. 
535
INTEGRITY OF ZINC

•
Requirement:  Design coverings/flashings and methods of attachment to prevent loss of weather tightness and permanent deformation due to wind pressure or suction. 

•
Wind loads:  Calculate to BS 6399-2. 
555
LAYOUT

•
Setting out of longitudinal and cross joints:  Submit proposals.

610
SUITABILITY OF SUBSTRATES

•
Condition:  Dry and free of dust, debris, grease and other deleterious matter.
620
PREPARATION OF EXISTING TIMBER SUBSTRATES

•
Remedial work: Adjust boards to level and securely fix. Punch in any protruding fasteners and plane or sand to achieve an even surface. 

•
Defective boards:  Give notice. 

•
Moisture content:  Not more than 22% at time of covering. 
FIXING ZINC

720
STANDING SEAM FIXED CLIPS


•
Fixing:  Secure each clip (minimum of 5) to substrate with two fixings (205709000).


Each clip to withstand a pulling force of 50 daN

725
STANDING SEAM SLIDING CLIPS

•
Stainless steel. 


-  Two piece clips with 70mm sliding movement (205710000) 

•
Fixing:  Secure each clip to substrate with three fixings. 


Each clip to withstand a pulling force of 50 daN


Typical clip spacing: 


Middle zone every 330mm


Edge zone 200mm


Corner zone 150mm
750
CLIPS FOR FLASHINGS/ CROSS JOINTS

•
Material: Zinc of same thickness as that being secured. 

•
Dimensions: 

-  Width: Not less than 50 mm. 

-  Length: To suit detail. 

•
Fixing: Secure each clip to substrate with two fixings not more than 50 mm from edge of strip/ sheet being fixed. 
760
CONTINUOUS CLIPS

•
Material: Zinc of same thickness as that being secured.


•
Dimensions:


-  Width: To suit detail.


-  Length: Not more than 1.8m.


•
Fixing: To substrate at 200 mm centres.  Welt edge of strip/ sheet being fixed to continuous clip and dress down. 
810
FORMING DETAILS

•
Folds and welts:  Form without thinning, or splitting the strip/sheet.

•
Thermal movement:  Form details with appropriate allowance for movement, without impairment of security at full expansion or contraction.
825
SOLDERING


•
All zinc must be cleaned back to its natural state.

•
The protective coat on the underside of the upper panel must be removed over a width of 20mm either chemically, using DECALAQ, or mechanically, using a 3 MTM RolocTM  Bristle Disc brush mounted on a small disc sander.

•
The pre-weathering must be removed from the parts to be soldered.  ZINN7 (flux) to be applied to allow spot soldering with solder (40% tin 60% lead)   ZINN7 applied over whole length of joint and then soldered.  Wipe clean.  Please see VMZINC soldering document.
[image: image1.jpg]



Standing Seam Cladding on Plywood

1. VMZINC standing seam panels in VMZINC PLUS

2. Fixing clip

3. 18mm plywood

4. Battens creating a vented 38mm airspace

5. Insulation protected by VMZINC Membrane

IMPORTANT
All instructions and recommendations contained in the guidelines for specification and installation, published by VMZINC have to be applied.
