VMZINC flat lock cladding on ventilated Plywood – March 2019

H74 Zinc strip / sheet coverings / flashings

To be read with preliminaries / general conditions

TYPES OF ZINC WORK

130	CLADDING Main Area

•	Cladding system:  VMZINC Flat lock vertical cladding.

•	Substrate:  Exterior grade 18mm plywood (EN314-3 & EN636-2).  The plywood deck must be even and flush with all joints being less than 2mm in height.  Nails should be driven into the plywood so as to avoid abrasive contact with the underside of the zinc roofing sheets.  Ensure that any treatment which the plywood may have received (fungicides or insecticides) is compatible with the zinc cladding sheets.  A continuous airspace of at least 38mm must be allowed for between the plywood and insulation (which can be protected by the VMZINC membrane)

- Underlay:  No underlay is required but a VMZINC membrane can be installed over the plywood.

•	VMZINC:  As clause 520.

-  Finish:  VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or Pigmento Red, Green, Blue, Brown, Grey or Azengar.

-  Thickness: 0.7mm, 0.8mm or 1mm depending on panel size

•	Longitudinal joints:  25mm hem forming a single welt.

-  Spacing:  maximum 3m.

•	Cross joints:  25mm hem forming a single welt.

-  Spacing:  maximum 3m.  Only spacing in one direction can be over 600mm

410	Apron Flashings

•	Ridge: As clause 520.

-  Finish:  VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or Pigmento Red, Green, Blue, Brown, Grey or Azengar.

-  Thickness:  0.7mm or 0.8mm.

•	Joints:

-  Spacing:  2m.

•	Bottom edge:

-  Continuous clip: Fix at 200 mm centres.

420	Cover Flashings

•	Ridge:  As clause 520.

-  Finish:  VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or Pigmento Red, Green, Blue, Brown, Grey or Azengar.

-  Thickness:  0.7mm or 0.8mm.

•	Joints:

-  Spacing:  2m.

•	Top edge:

-  Standing seam longitudinal joint:  Position flush with verge.

-  Forming:  Secure top of verge into double welt and clips of standing seam.

•	Bottom edge:

- Continuous clip:  Fix at 200mm centres

GENERAL REQUIREMENTS/PREPARATORY WORK

510	WORKMANSHIP GENERALLY

•	Standard:  Generally to CP 143-5.

•	Fabrication and fixing:  To provide a secure, free draining and completely weather tight installation.

- Installation Company and operatives:  Trained in the application of zinc coverings/flashings.  Submit records of experience on request.  VMZINC at Work installers offer evidence of successfully completed projects, records of VMZINC training and extended material warranties.

•	Measuring, marking, cutting and forming:  Prior to assembly wherever possible.

•	Metal temperature:  Do not form zinc when the metal temperature is below 7˚C. (10˚C for Pigmento).

•	Marking out:  With pencil, chalk or crayon.  Do not use scribers or other sharp instruments without approval.

•	Folding: With mechanical or manual presses to give straight, regular and tight bends, leaving panels free from ripples, kinks, buckling and cracks.  Use hand tools only for folding details that cannot be pressed. The minimum bending radius is thickness x 2 (x 3 for Pigmento).

•	Sharp metal edges:  Fold under or remove as work proceeds.

•	Sealants:  Do not use in joints to attain waterproofing.

•	Solder:  Use only where specified.

•	Finished zinc work:  Fully supported, adequately fixed to resist wind uplift and able to accommodate thermal movement without distortion or stress.

•	Protection:  Prevent staining, discolouration and damage by subsequent works. All instructions and recommendations contained in the guidelines for specification and installation of VMZINC standing seam to be applied.  Plastic film must be removed within 2 months of installation and in such a way so as not to trap water between the partially removed film and the zinc.

520	ZINC STRIP/SHEET

•	Zinc-titanium-copper alloy:

-  To BS EN 501 and BS EN 988.

•		Zinc manufactured following ISO 14001 (environmental management), ISO 9001 (quality management) and ISO 18001 safety management.

-  Stamped or labelled with type, finish and thickness.

-  Zinc to be coated on underside with a protective 60 micron lacquer.

•	Manufacturer:

-  VMZINC, Collier House Mead Lane Hertford Herts SG13 7AX

Tel:  0203 445 5640  Email: vmzinc.uk@vmbuildingsolutions.com   Web:  www.vmzinc.co.uk

-  Product reference:

VMZINC in VMZINC PLUS in QUARTZ-ZINC, ANTHRA-ZINC or Pigmento Red, Green, Blue, Brown, Grey or Azengar.

535	INTEGRITY OF ZINC

•	Requirement:  Design coverings/flashings and methods of attachment to prevent loss of weather tightness and permanent deformation due to wind pressure or suction.

•	Wind loads:  Calculate to BS 6399-2.

555	LAYOUT

•	Setting out of longitudinal and cross joints:  Submit proposals.

610	SUITABILITY OF SUBSTRATES

•	Condition:  Dry and free of dust, debris, grease and other deleterious matter.

620	PREPARATION OF EXISTING TIMBER SUBSTRATES

•	Remedial work: Adjust boards to level and securely fix. Punch in any protruding fasteners and plane or sand to achieve an even surface.

•	Defective boards:  Give notice.

•	Moisture content:  Not more than 22% at time of covering.

650	UNDERLAY – VMZINC Membrane

VMZ Membrane installed directly above the insulation.

•	Handling:  Prevent tears and punctures.

•	Laying:  Overlapped joints onto a dry substrate with staples (membrane is supplied with self-sealing joints).

•	Overlap the VMZ Membrane by 150mm.

- Slopes lower than 22º the overlap should be 200mm.

FIXING ZINC

710	FIXINGS FOR CLIPS

- Stainless steel or Galvanised steel (not in a coastal environment)

- Flat head screws or ringed shanked nails.

715	SECURING CLIPS

•	Stainless Steel, Zinc or Galvanised steel (not in a coastal environment).

•	Fixing:  Secure each clip to substrate with two fixings.

•	Each clip to withstand a pulling force of 50 daN.

•	Minimum of 4 clips per panel.

•	Typical spacing:  clip at least every 330m.

760	CONTINUOUS CLIPS

Material:  Zinc of same thickness as that being secured.

•	Dimensions:

-  Width:  To suit detail.

-  Length:  Not more than 1.8m.

•	Fixing:  To substrate at 200mm centres.  Welt edge of strip/sheet being fixed to continuous clip and dress down.

810	FORMING DETAILS

•	Folds and welts:  Form without thinning, or splitting the strip/sheet.

•	Thermal movement:  Form details with appropriate allowance for movement, without impairment of security at full expansion or contraction.

825	SOLDERING

•	All zinc must be cleaned back to its natural state.

•	The protective coat on the underside of the upper panel must be removed over a width of 20mm either chemically, using DECALAQ, or mechanically, using a 3 MTM RolocTM  Bristle Disc brush mounted on a small disc sander.

•	The pre-weathering must be removed from the parts to be soldered.  ZINN7 (flux) to be applied to allow spot soldering with solder (40% tin 60% lead)   ZINN7 applied over whole length of joint and then soldered.  Wipe clean

|  | VMZ flat lock panels in VMZINC PLUS Fixing cleat Fixing strip 18mm plywood Battens creating a vented 38mm airspace Insulation protected by VMZ Membrane |
| --- | --- |

IMPORTANT - All instructions and recommendations contained in the guidelines for specification and installation, published by VMZINC have to be applied.