VM Building Solutions USA, Inc.	May 2019

1513 Walnut Street, Ste. 270

Cary, NC 27511

Phone	(984) 212-5471

Website	www.vmzinc-us.com

E-mail	info@vmzinc-us.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers and titles are from MasterFormat 1995 Edition, with numbers and titles from MasterFormat 2004 Edition in parentheses.  Delete version not required.

SECTION 07315 (07 31 30)

METAL WALL PANELS

Specifier Notes:  This section covers VM Building Solutions USA, Inc. “VM ZINC® Corrugated” factory-formed, zinc-alloy, metal wall panels.

Panel substrate and framing designs can vary greatly.  The Architect should consult model building code, VM Building Solutions USA’s product user guide and architectural manual, or building envelope consultant for additional information of appropriate wall designs.  Sheathing, insulation, weather resistive barrier, and vapor retarder installation may be specified in this section or in other sections.

Consult VM Building Solutions USA, Inc. for assistance in editing this section for the specific application.

SECTION 07410  (07 42 13)

CORRUGATED METAL WALL PANELS

PART 1  -  GENERAL

1. 1	SECTION INCLUDES

A.	Factory-formed, zinc-alloy, corrugated metal wall panel.

1.2	RELATED SECTIONS

Specifier Notes:  Edit the following list of related sections as required for the project.  List other sections with work directly related to this section.

A.	Section 05400 (05 40 00) – Cold-Formed Metal Framing:  Secondary support framing

B.	Section 06100 (06 10 00) – Rough Carpentry:  Framing and Sheathing

C.	Section 07210 (07 21 00) – Building Insulation (Thermal Insulation):   insulation.

D.	Section 07260 (07 26 00) – Vapor Retarders.

E.	Section 07270 (07 27 00) – Air Barriers.

F.	Section 07620 (07 62 00) – Sheet Metal Flashing and Trim:  Fascia, copings, flashings, and other sheet metal work.

G.	Section 07920 (07 92 00) – Joint Sealants.

1.3	REFERENCES

Specifier Notes:  List standards referenced in this section, complete with designations and titles.  This article does not require compliance with standards, but is merely a listing of those used.

A.	ASTM B 32 – Standard Specification for Solder Metal.

B.	ASTM D 968 – Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive.

C.	ASTM E 96 – Standard Test Methods for Water Vapor Transmission of Materials.

1.4	SYSTEM DESCRIPTION

A.	Provide complete Corrugated metal panel system as indicated, including:

1.	Factory-formed, zinc-alloy, corrugated metal panels.

2.	Attachment components.

3.	Weather-resistive barrier materials.

B.	Thermal Movements:

1.	Provide corrugated metal wall panels, including flashings, trim and accessories that allows for thermal movement.

2.	Provide fasteners and components that resist rotation and avoid shear stress as a result of system thermal movements.

1.5	SUBMITTALS

A.	Comply with Section 01330 (01 33 00) – Submittal Procedures.

B.	Product Data:  Submit panel manufacturer’s product data, including details of construction relative to materials, dimensions of individual components and profiles, finishes, and panel manufacturer’s written and published installation instructions and installation guides.

C.	Shop Drawings:  Submit installer’s shop drawings as verified by panel manufacturer, including plans, elevations, sections, and details, indicating installation layout of metal wall panel system, with keyed references to termination points.  Include the following:

1.	Details of metal panels including overlaps and dimensions.

2.	Details for joining and securing metal panels, including layout of fasteners, and other attachments.

3.	Details of penetrations.

4.	Details of special conditions.

5.	Details of connections to adjoining work.

6.	Details of required accessory items.

7.     Corrugated metal wall panel assembly and attachments.

8.	Details of terminations, such as edge conditions, corners, starter and termination courses.

D.	Samples for Verification:  Submit panel manufacturer’s samples for each type of exposed component required, including:

1.	Corrugated Metal Panel System:  Minimum 24” long (600mm) by actual panel width,  including fasteners ( 2 of each) required for installation and laps.

2.      Trim and Closures:  24” long (600mm) sample of each type of trim and closure, including

fasteners, cleats and components.

3.      Accessories:   24” (600mm) long sample of each type of accessory.

E.	Qualification Data:  Submit qualification data for panel manufacturer and installer to demonstrate capabilities and experience.   Refer to AIA A305 Qualification Form as guide for submittal.

F.	Warranties:  Submit  sample warranties from:

1.	Manufacturer.

2.	Installer.

1.6	QUALITY ASSURANCE

A.	Panel Manufacturer’s Qualifications:  Manufactured a minimum of 250,000 square feet of metal wall panels of similar type to that specified.

B.	Installer’s Qualifications:

1.	Engage an experienced installer who has completed metal wall panel installation similar in material, design, forming method, and extent to that indicated for this Project and with a record of successful in-service performance.

2.	Provide evidence of the field installer’s participation in manufacturer’s training course.

C.	Corrugated Metal Wall Panel:  Comply with panel manufacturer’s written and published  instructions.

Specifier Notes:  Edit the following paragraph as required for the project.

D.	Mock-ups:

1.	Before installing metal panel, construct mock-ups.  Verify selection made under sample submittals and demonstrate aesthetic effects and qualities of materials and execution as required by Architect.

2.	Build mock-ups to comply with the following requirements:

a.	Construct mock-ups in location and of size (minimum 6’x4’) as directed by Architect.

b.	Receive approval of mock-ups by Architect in writing.

c.	Approval of mock-ups does not constitute approval of deviations from the Contract Documents contained in mock-ups, unless such deviations are specifically approved by Architect in writing.

d.	Approved mock-ups may become part of the completed Work, if undisturbed at time of Substantial Completion and approved by Architect in writing.

1.7	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:

1.	Package metal panels for protection during transportation and handling

2.	Deliver materials to site in panel manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and panel manufacturer.

3.	Deliver materials so as not to be damaged or deformed.

4.	Inspect delivered materials within 5 days from date of delivery.  Report damaged materials to panel manufacturer within 5 days.

5.	Leave strippable protective UV-resistant film on metal wall panels

B.	Storage and Handling:

1.	Store materials in clean areas in accordance with manufacturer’s instructions.

2.	Unload, store, and erect metal panels in a manner to prevent bending, warping, twisting, and surface damage.

1.8	PROJECT CONDITIONS

A.	Weather Limitations:  Install metal panel system only when weather conditions permit installation in accordance with panel manufacturer’s written and published instructions and metal wall panel installation guides.

1.9	WARRANTY

A.	Warranty Period:

1.	Materials:  5 years from date of substantial completion.  (Provided by the Panel Manufacturer.)

2.	Installation:  2 years from date of Substantial Completion.  (Provided by the Installer.)

Specifier Notes:  Edit the above as required by architect/owner and as agreed to by panel manufacturer.

PART 2  -  PRODUCTS

2.1	MANUFACTURER

A.	Metal Panel System Manufacturer:  VM Building Solutions USA, Inc., 1513 Walnut Street, Suite 270, Cary, NC 27511.  Phone (919) 216-8868 Fax (919) 648-4612.  Website www.vmzinc-us.com.  E-mail info@vmzinc-us.com.

2.2	MATERIALS

A.	Metal:  “VM ZINC® Corrugated” factory-formed, zinc-alloy, metal wall panel.

1.	Zinc Alloy:  99.995 percent electrolytic high-grade zinc with alloy additives of copper (0.08 percent to 0.20 percent), titanium (0.07 percent to 0.12 percent), and aluminum (0.015 percent).

2.	Thickness: 0.039 inch (1.00 mm).

3.      Panel Backside Coating:

a.	Coating Thickness:  60 microns.

b.	Abrasion Resistance, ASTM D 968, Method D:  140 liters.

4.	Surface Aspect:

Specifier Notes:  Specify the required surface aspect of corrugated  panels.

Back side coating only on panels on non-compatible supports.

a.	Pre-weathered Zinc:  “QUARTZ ZINC”.  Dark gray zinc with luminance “Y” between 22 and 25 on exposed side or architect approved equal color management system.

b.	Pre-weathered Zinc:  “ANTHRA ZINC”.  Charcoal black zinc with luminance Y between 5 and 7 on exposed side or architect approved equal color management system.

c.      Pigmented Preweathered Zinc:  “PIGMENTO BLUE”.  Zinc with a blue pigmented

coating.

d.      Pigmented Preweathered Zinc:  “PIGMENTO RED”.  Zinc with a red pigmented

coating.

e.      Pigmented Preweathered Zinc:  “PIGMENTO GREEN”.  Zinc with a red pigmented

coating.

f.     Pigmented Preweathered Zinc:  “PIGMENTO BROWN”  Zinc with a brown pigmented

coating.

g.     AZENGAR® Zinc:  Engraved Zinc with a matte aspect and a luminance Y value

between 50 and 60 on exposed side.

5.	Dimensional Tolerances:

a.	Coverage:  Plus or minus 1/8 inch (3mm).

b.	Ends Square:   1/16 inch (1.5mm) on 12 inches (305mm).

c.	Flatness:  1/8 inch (3mm) on 36 inches (914mm).

d.      Overall length: Plus or minus 1/8 inch (3mm).

B.	Metal Wall Panels:

1.  	Factory formed, corrugated panels, based on a 10 ft. (3048mm) long, corrugated profiled  panel, 32 ¾” (832mm) nominal width, featuring  29 3/8” (746mm) coverage.  Wave depth of panel is 7/8” (22mm), on 2.67” (68mm) centers.  Panels are installed with exposed fastener arrangement.

2.      Corrugated panel system includes full range of fasteners, flashings, and terminations.

Specifier Notes:  Specify horizontal, vertical or both if required on project.

3.	Panels are installed [horizontally from bottom of surface to top],  [ vertically, laid in opposite direction of prevailing weather] with exposed fasteners.

Specifier Notes:  Verify product compatibility where products other than those listed in this article are to be specified and installed in conjunction with the metal panel system.

2.3	WEATHER-RESISTIVE BARRIER MATERIALS

A.	Available Products:  Subject to compliance with requirements, weather-resistive barrier materials that may be incorporated into the Work include, but are not limited to, the materials specified.

B.	Hydrophobic Weather-Resistive Barrier:

Specifier Notes:  Specify fabric underlayment as described below or another type of hydrophobic weather-resistive barrier of equal performance.

1.	Fabric Underlayment/Slip sheet:

a.	Type:  High-permeability, spun-bonded, non-woven, polypropylene fabric.

b.	Weight:  6.103 oz./sq. yd. (175 g/m2).

c.	Thickness:  0.023 inch (0.60 mm).

d.	Water Vapor Transmission, ASTM E 96, Method A:  212 perms

2.	Acceptable Products:

a.	VM Zinc Compatible Weather Barrier.

b.      Fabric underlayment approved by the panel manufacturer.

C.	Flashing Membrane:  Self-adhering, high-temperature sheet:

1.	Slip-resisting, polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied.

2.	Minimum Thickness:  30 to 40 mils (0.76 to 1.0 mm).

3.	Provide primer when recommended by flashing membrane manufacturer.

4.	Thermal Stability, ASTM D 1970, 240 degrees F (116 degrees C):  Stable.

5.	Low Temperature Flexibility, ASTM D 1970, Minus 20 degrees F (29 degrees C):  Passes.

6.	Available Products:

a.	Carlisle Coatings & Waterproofing, Div. of Carlisle Companies Inc.; CCW WIP 403HR High Performance Underlayment.

b.	Grace, W. R. & Co.; “Vycor Ultra” HT.

2.4	THERMAL INSULATION

A.	Insulation:  As specified in Section 07210 (07 21 00).

  - FASTENERS FOR METAL WALL PANELS

- Exposed Fasteners for Metal Wall Panels attachment to steel substrate:

- #12, 300 series stainless steel, with neoprene gasket, thread design and length appropriate for substrate.

- Heads: Factory applied coating to match color of metal.

- Exposed Fasteners for Metal Wall Panels attachment to wood substrate:

- #12, 300 series stainless steel, with neoprene gasket, thread design and length appropriate for substrate.

- Heads: Factory applied coating to match color of metal.

- Exposed Fasteners

  - Self tapping screws, bolts, self locking rivets and other suitable fasteners designed to withstand design loads.

  - Material: 300 series stainless steel.

  - Heads: Factory applied coating to match color of metal.

Stitch screw= exposed fasteners

2.6	ACCESSORIES

A.	Flashing and Trim:

1.	Shop or Field-fabricated from zinc-alloy sheets.

Specifier Notes:  Specify flashing and trim thickness.  Consult manufacturer for more information.

Specify thicker products where trim with level surface may be required for aesthetic reasons.

2.	Minimum Thickness: 0.031 inch (0.80mm).

3.	Seal against weather.

4.	Provide finished appearance.

5.	Provide pull-out resistance and flatness.

6.	Match surface aspect of adjacent metal wall panels.

7.	Flashing Backside Coating:

a.	Coating Thickness:  60 microns.

b.	Abrasion Resistance, ASTM D 968, Method D:  140 liters.

8.	Backer plates: Provide metal backing plates at panel  edges, terminations, openings, splices, and where recommended by manufacturer, consisting of Zinc Plus or stainless steel sheet goods formed in configuration and thickness recommended by manufacturer.

9.	Cleats:  Continuous G90 galvanized cleats, formed in configuration, and thickness as recommended by the manufacturer, minimum 0.0239” (0.60mm)

10.	Ventilation screen:  51% open perforated zinc, 0.039” (1.00mm) thickness, by metal wall panel manufacturer.

B.	Exposed Fasteners:

- Self tapping screws, bolts, self locking rivets and other suitable fasteners designed to

withstand design loads.

2.     Material: 300 series stainless steel.

3.      Heads: Factory applied coating to match color of metal.

C.	Solder and Stripping for Accessories:

1.	Solder for Zinc-Alloy:  ASTM B 32, 60 percent lead and 40 percent tin with low antimony, as recommended by manufacturer.

2.	Stripping:

a.	“Stay-Clean” soldering flux for removal of zinc-alloy preweathering layer.

b.	Abrasive disc for removal of backside coating.

PART 3 -  EXECUTION

3.1	EXAMINATION

A.	Examine substrates, areas, and conditions, with installer present, for compliance with requirements for installation tolerances, supports, and other conditions affecting performance of work.

1.	Verify that substrate is plumb, sound, dry, smooth, clean, sloped for drainage, and completely anchored, and that provision has been made for piping, flashings, and penetrations through metal wall panel system.

2.	Examine primary and secondary framing to verify that girts, angles, channels, and other structural panel support members, sheathing, and anchorages have been installed correctly and are spaced properly.

3.	Prepare written report, endorsed by installer, listing conditions detrimental to performance of Work of this section.  Submit copy of report to Architect.

B.	Examine roughing-in for components and systems penetrating to verify actual locations of penetrations relative to seam locations of metal panels before installation.

C.	Proceed with installation only after unsatisfactory conditions have been corrected.

3.2	INSTALLATION

Specifier Notes:  Consult manufacturer’s instructions for assistance in editing this article as required for the project.

A.	Install metal wall panel in accordance with manufacturer’s written and published instructions and installation guides.

B.	Install panels in orientation and locations indicated on the Drawings.

1.	Locations include, but are not limited to:

a.	Top of wall (parapet, copings).

b.	Corners.

c.	Bases.

d.	Framed openings.

e.	Fascias.

f.	Fillers.

g.	Starter and termination edge trims.

h.	Junction and reveal trims.

i.	Starter and termination trims.

j.	.Z closure trims.

C.	Install metal wall panels plumb, level, square, true to line, and within installation tolerances.

D.	Flashing Membrane:

1.	Install and fasten flashing membrane per manufacturer’s recommendations.

2.	Lay in panel fashion to shed water, lapping joints, edges, per manufacturer’s recommendations.

3.      Apply primer to deck surfaces, per manufacturer recommendations.

4.      Overlap sides and edges, and stagger per manufacturer’s recommendations.

5.      Roll laps and field of membrane to provide a wrinkle free installation.

E.    Underlayment Installation:

1.	Install fabric underlayment per manufacturer’s recommendations.

2.	Lay in panel fashion to shed water, lapping joints, edges, minimum of 6” (150 mm).  Cover underlayment within 60 days with finished wall system.

F.	Panel Installation:

1.	Install panels perpendicular to girts (hat channels) unless indicated otherwise.  Locate fasteners in uniform vertical and horizontal alignment.

2.	All laps in panels shall be weather-lapped, regardless of horizontal or vertical installation.

3.	Fasten metal panels in accordance with manufacturer’s instructions.

4.	Attach the metal panels with specified screws through holes –drilled in field. Anchor metal panels and other components of the Work securely in place.

3.	Cut the panels with cutting shears to accommodate terminations, and placement around penetrations, and discontinuities.   Do not field-cut metal panels by torch.  At field modified panels, drill additional holes for fastening to substrate.  Fasteners at field drilled holes shall be provided with neoprene gasketed washers.

5.	Flash and seal the metal panels with weather closure at termination, edges and at perimeter of openings.

6.	Install trim and flashing, as metal panel installation proceeds.

7.	Fasten flashings and trim around openings and similar elements.

8.      Do not allow construction debris to contaminate panel system.

G.	Fasteners:  Use fasteners of type and size (per Manufacturer Recommendations) that will secure roof components in compliance with design load requirements.

H.	Provide concealed fasteners and expansion provisions, where possible, in exposed work and locate to minimize possibility of leakage.

I.	Metal Protection:  Do not install panels with non-compatible materials.  Protect the metal wall panels from masonry and products containing lime by leaving the protective coating on the zinc until project and clean-up completion.

3.3	TOLERANCES

A.	Installation Tolerances:

1.	Maximum Alignment per Panel Variation:  +/- 1/8 inch (3 mm).

3.4	CLEANING

A.	Clean exposed metal surfaces in accordance with manufacturer’s instructions.

B.	Clean and neutralize flux materials.  Remove excess solder.

C.	Clean finished surfaces on completion of metal installation, including removing unused fasteners, metal filings, rivet stems, pieces of flashing, and construction dust.

- Maintain metal panels in clean condition during construction.

- Remove plastic film from flashing and trim within 60 days of installation, removing all film

per elevation on the same day.

3.5	PROTECTION

A.	Protect installed metal wall panel system as per manufacturer’s recommendation to ensure that, except for normal weathering, panel system will be without damage or deterioration at time of Substantial Completion.

END OF SECTION